GUIDANCE NOTES FOR SUBMISSIONS TO THE SUSTAINABLE ENERGY AUTHORITY OF IRELAND (SEAI) HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

(GAS & OIL FIRES & ROOMHEATERS WITHOUT BACK BOILERS ONLY)

Contents

1	Introduction

  - Gas & Oil Fires and Roomheater Data

  - Efficiency Data

  - Route to Product Identification

2	Help and Advice on Supplying Efficiency Data

2.1	How go I make a Submission to the Database?

2.2	Manual Entry

## Appendix 1		Manual Entry Forms

Appendix 2	Gas & Oil Fires and Roomheater Identity Form

Appendix 3		Route to Product Identification

Appendix 4		Submission Check List

Appendix 5		List of Heating Products published on the HARP Database

Appendix 6		Glossary of Terms

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

- Introduction

The Sustainable Energy Authority of Ireland (SEAI) is Ireland's national energy authority with a mission to promote and assist the development of sustainable energy. This encompasses environmentally and economically sustainable production, supply and use of energy, in support of Government policy, across all sectors of the economy. Its remit relates mainly to improving energy efficiency, advancing the development and competitive deployment of renewable sources of energy and combined heat and power, and reducing the environmental impact of energy production and use, particularly in respect of greenhouse gas emissions.

One of SEAI's responsibilities is to assist the Department of Communications, Marine and Natural Resources and the Department of the Environment, Heritage and Local Government in implementing the EU Energy Performance of Buildings Directive (EPBD) [2002/91/EC] in Ireland.

Articles 4 and 5 of the EPBD require that new buildings meet minimum energy performance requirements, which in Ireland's case will be specified in the Building Regulations and Technical Guidance Document Part L.

Furthermore, Article 7 of the EPBD requires that an energy performance certificate is made available to prospective buyers or tenants when a building is constructed, sold or rented out. Throughout these Guidance Notes this requirement will be termed “building energy rating” (BER). A BER includes the label and the advisory report.

In Ireland, the approach will be to adopt not only an official national method and one official software tool that all Registered Assessors will use to carry out a BER for a dwelling.

The official national method has been developed and is entitled the “Dwelling Energy Assessment Procedure” (DEAP) and it will be used to demonstrate compliance with the Building Regulations and for preparing BERs.

1.1	GAS & OIL FIRES AND ROOMHEATER DATA

The primary purpose of the Database is to support the Irish Government’s Dwelling Energy Procedure (DEAP) for energy rating of dwellings by providing reliable data on the efficiency and other relevant characteristics of domestic Gas & Oil Fires and roomheaters.

These Guidance Notes deal specifically with the submission of data relating to domestic Gas & Oil Fires and roomheaters without back boilers only.  Other notes exist for other domestic heating products published on the database (see Appendix 4).  These may be obtained via the website (www.seai.ie/harp ) or direct from SEAI.

Subsets of data extracted from the definitive database will be published in two forms; one for Registered Assessors as a computer-readable file, and the second as publicly available product information – all on an Internet web site (www.seai.ie/harp).  The published data will be updated at monthly intervals.

Manufacturers may submit further data on new products at any time. These applications will be dealt with within an agreed time target.

When Gas & Oil Fires and roomheaters published on the database go out of production, SEAI (or their contractor) should be notified so that the entry can be updated.  The data will still be held so that Registered Assessors can make reference to it as required.

You should be aware that once data relating to a particular roomheater has been published, any modifications to that product which may affect its seasonal efficiency rating must be submitted in the form of a clearly identifiable “new” entry complete with a modified model identity.  Product names in the database must be unique, and it is not possible to have two entries with the same conjunction of brand name, model name and qualifier and fuel type.  This is to enable a Registered Assessor to differentiate between the modified and un-modified products in the marketplace.

1.2	EFFICIENCY DATA

The purpose of this database is to hold energy efficiency performance calculations for domestic heating appliances.  These notes are concerned with efficiency data for domestic Gas & Oil Fires and roomheaters without back boilers.  Although the database will contain other descriptive and technical details as well, all entries must include a DEAP seasonal efficiency value.  Each entry for a DEAP seasonal efficiency value has an efficiency category defined as follows: -

- Efficiency category 1: Not used at this time

- Efficiency category 2: Seasonal Efficiency based on certified data

Seasonal efficiency has been calculated by the method from the results of standard efficiency tests required to demonstrate compliance with the appropriate EN method, together with other information supplied.  The results of the standard tests have been certified by a suitably qualified Notified Laboratory (i.e. an independent test house deemed competent under European rules for roomheater testing under the CPD) and have been submitted with other supporting details.

- Efficiency category 3: Estimated

Efficiency has been taken from DEAP, based on roomheater type. Entries with efficiency category 3 are permitted for obsolete roomheaters only, which may not comply with the provisions of the Construction Products Directive.

Note:	Information relating to this category can only be supplied by SEAI

- Efficiency category 4: Manufacturer Declared Results

Seasonal efficiency has been calculated by the method from the results of standard efficiency tests required to demonstrate compliance with the appropriate EN method, together with other information supplied.  A suitably qualified Notified Laboratory has NOT certified the results of the standard tests.

For Gas & Oil Fires and roomheaters with efficiency category 2 only, the database will indicate an energy efficiency band.  For Gas & Oil Fires and roomheaters with other efficiency categories, the field for the efficiency band will be left blank.

The database also provides a field to hold the energy efficiency class, expected to be defined later in a European Council directive for energy labelling.  This field is to be left blank until the European labelling scheme has been defined.

1.3	PRODUCT IDENTIFICATION

It is essential that descriptions obtained from the database allow a Registered Assessor to identify an installed Gas & Oil Fires and roomheater reliably. Assessors are not heating experts, and will examine only the information on roomheaters that is readily visible to the householder.  The route to Gas & Oil Fires and roomheater identification should be viewed as follows: -

- The product must have a unique description (i.e. distinct from any other product entered, or about to be entered, in the database).  The description is made up of Brand Name, Model Name and Qualifier and Fuel type.

- It must be possible for the Registered Assessor to identify the specific product from readily visible information.

- Readily visible information is considered to be markings/labels on the outer case that can be seen.  In addition markings/labels that can be read by means of a user moveable panel.  A user moveable panel is considered to be one that may be hinged (e.g. flap or door) or a panel that can be removed without the use of tools and is intended to be used by the householder.  Alternatively a durable label securely fixed (e.g. by chain) that can be accessed safely by the Assessor. If tools are required to open/remove the panel, it is not considered a user moveable panel.

- In order to demonstrate that product information is readily visible photographs will need to be supplied clearly demonstrating how the unique product description can be derived as described in 3 above.  No submissions will be accepted where this evidence cannot be supplied.

The process by which a product description is verified is given in Appendix 3.

It should be noted that where a unique product description cannot be demonstrated (normally by means of photographs) an entry to the database will be denied.

2	Help and Advice on Supplying Gas & Oil Fires and Roomheater Efficiency Data

2.1	How do I make a submission to the Database?

A submission is made using the data entry forms provided at the back of this guidance booklet.  Detailed advice on completing the main data entry form (Appendix 1) is given in section 2.2.

As well as the basic Gas & Oil Fires and roomheater data you will need to provide, there are a number of accompanying forms and pieces of evidence you will also need to supply.  To help clarify what this is a table is presented below listing the forms you will need in various submission scenarios.  Although this cannot be guaranteed to be exhaustive in all cases it should cover most.

Gas & Oil Fires and Roomheater Submission Scenarios and Forms/Evidence required

| Forms/Evidence required | Roomheater submission scenario |  |
| --- | --- | --- |
|  | Roomheater tested on fuel it burns | Badged Roomheater |
| Manual Data Entry Form (1) |  |  |
| Badged Roomheater Form (2) | N.A. |  |
| Product Identification Photographs (3) |  |  |
| Dataplate |  |  |
| Certified Efficiency Data |  |  |

Note: Numbers in brackets indicate the Appendix number where the appropriate form or further information can be found.

For each Gas & Oil fire and roomheater submitted there must be the accompanying paperwork as indicated in the above matrix.  This applies equally whether or not you make the data submission electronically.  As a further aid a submission checklist is provided in Appendix 4.

It is important that all forms requiring signature be signed by the Technical Director of the submitting company.

2.1	Manual Entry

A set of manual data entry forms is included in Appendix 1 – please photocopy as many as you need for all of your product data.  One complete set of forms should be completed for each Gas & Oil fire and roomheater.

Please take great care when writing in each of the boxes.  Special care is needed when recording results from any testing body.  Please note that the accreditation information must be substantiated with appropriate copies of accreditation certificates and test reports.  Failure to provide this evidence may prevent your product from receiving its full listing in the database.  Each form contains a signature box for the Technical Director or the equivalent person in your organisation to affirm the quality of the information supplied.  Please note that you are also required to send an actual dataplate for each Gas & Oil fire and roomheater submitted.

The data entry form has been designed with subsequent data input in mind.  Overleaf are some explanatory notes to help you fulfil the requirements.

NB	MANDATORY ENTRIES ARE PRINTED IN BOLD

There is a requirement for consistency in naming (a) your Company (b) the brand and (c) the actual models submitted.  We will be making amendments as and when required to both categories and you should pay particular attention to that when checking your confirmation reports.

Entry 1	Manufacturer Name [up to 50 characters]

This is the name of the Gas & Oil fire and roomheater manufacturer or company responsible for the Gas & Oil Fires and roomheater in the Ireland at the time the Gas & Oil Fires and roomheater was manufactured – as it appears on the product casing and/or the owners’ instruction leaflets.  Please omit punctuation marks and spaces between initials.  Once we have confirmed a manufacturer name this format will be used for all future entries appearing under that name.

Entry 2	Current Name [up to 50 characters]

This is the current name of the Manufacturer or Company responsible for this Gas & Oil Fires and roomheater in the Ireland.  This may be different to the original name – if not mark “as above”.

NB	If the same Gas & Oil Fires and roomheater model is sold under more than one Manufacturer’s name, then you should complete the Gas & Oil Fires and Roomheater Identity Form in Appendix 2 giving the other identities so that separate entries can be included on the database.

Entry 3	Address [up to 365 characters in total]

This format is as recommended in BS7666: Part 3 Section 2 Table 1 – hence the terminology.  If your company does not have an Irish or UK address, then please try to match the format as closely as possible.

- Secondary addressable object name [e.g. Design Division] - up to 60 characters

- Primary addressable object name [e.g. Big House] - up to 60 characters

- Designated Street name - up to 100 characters

- Locality name [if appropriate] - up to 35 characters

- Town/city name - up to 30 characters

- Administrative area name [e.g. County] - up to 30 characters

- Postcode - up to 20 characters

- Country – if not Ireland or UK - up to 30 characters

Entry 4	Telephone number 	[up to 25 characters]

Entry 5		Website address		[up to 75 characters]

This is the actual home website address for the manufacturer [in the usual   .ie or .com configuration].  It will be used to provide a hotlink from each Gas & Oil Fires and roomheater record to the specific manufacturer’s website.

Entry 6	Brand Name [up to 50 characters]

This is the name of the product brand.  It is anticipated that this name will reflect the manufacturer name.  It is intended that this field be used for the brand instead of including it in the Model Name (e.g. model name: ACME 123 would be Brand Name: ACME; Model Name 123).

Entry 7	Model Name [up to 50 characters]

This should be the name as it appears on the Gas & Oil Fires and roomheater casing or leaflet of owners’ instructions.

NB	As highlighted in Entry 2’s notes, separate entries are required for each model if the same Gas & Oil Fires and roomheater is sold under more than one model or brand name.

Entry 8		Model qualifier [up to 30 characters]:-

This is for recording any special qualifier to the model name, which may have been used to discriminate between different versions of the same model.

Entry 9		Gas & Oil Fires/Roomheater ID [up to 40 characters]

This is the Gas & Oil Fire/roomheater identifier which, when used in conjunction with the manufacturer’s name, is unique for the model and all other characteristics affecting efficiency.  Where known, this provides an effective short cut for identification. It could be any unique identifier chosen by the manufacturer and clearly marked on the roomheater.  If not known or not applicable, please leave blank.

Entry 10		First year of manufacture if known [up to 4 characters]

If you do not know, give your best estimate of the year or just leave blank.

Entry 11	Final year of manufacture [up to 8 characters]

Enter “current” if the model is still in production.  If the model is no longer produced, but you do not know the final year of manufacture, then either enter your best estimate of the year or simply enter “obsolete”.

Entry 12	Fuel [1 digit]

| Fuel | Code | Notes |
| --- | --- | --- |
| Gas | 1 | “Gas” means natural gas (mains gas) only |
| LPG | 2 | “LPG” means butane or propane |
| Oil | 4 | “Oil” means kerosene, or gas oil only |

NB	If the same Gas & Oil Fire/roomheater may be used for more than one type of fuel, then a separate entry is required for each fuel type.

Entry 13	Flue Type [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| Open | 1 | Open flued: The roomheater will take its combustion air from the room, and discharge outside of the room |
| Room-Sealed | 2 | Room sealed: The roomheater air supply and point of discharge of the flue system are outside of the room in which the roomheater is installed. |
| Either | 3 | Where a roomheater can operate with both an open or room-sealed flue and the dataplate makes no distinction. |
| Open Chimney | 4 |  |

Entry 14	Fan Assistance [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| No-fan | 1 |  |
| Fan | 2 | A fan assisted roomheater is a roomheater with a fan designed to supply air or remove products of combustion. |

Entry 15	Nominal Heat Input

[number of up to 7 characters - e.g. nnn.nnn]

This figure should be the nominal heat input of the roomheater in kW.  This figure should be supported by evidence contained in the type examination report issued by the laboratory.

Entry 16	Reduced Heat Input

[number of up to 7 characters - e.g. nnn.nnn]

This figure should be the reduced heat input of the roomheater in kW.  This figure should be supported by evidence contained in the type examination report issued by the laboratory.

If the roomheater has only a single output then this is the same as the nominal heat input i.e. the same as Entry 15.

(Note: If the power is only available in BTU/hr then it should be converted using the factor 1BTU/hr = 0.000293kW).

Entry 17	Certified efficiency at Nominal Heat input [number up to 5 characters to one decimal place e.g. nnn.n]

This is the certified net efficiency at nominal heat input.  Supporting evidence may be:-

- A copy of the CE certificate (or original signed declaration) as issued by an EU Notified Body clearing showing the test results, or

- A declaration issued and authorised or endorsed by an appropriate EU Notified Body showing the heater efficiency results for the model submitted.

The certificate or declaration shall clearly indicate the model to which it applies.  If this model differs in any way (either physically or by model name or other identifier) from that shown on the certificate, then the Badged Heater Identity Form (Appendix 2) shall be used to clearly identify all of these differences.  This form shall be completed and signed as indicated.

## Entry 18	DEAP gross seasonal efficiency [number up to 4 characters e.g. nn.n%]

Note:	SEAI (or their delegate) will calculate this figure and notify manufacturers of their results during the checking period.

This may be entered by the manufacturer or left blank.  If entered, it must be obtained using the methods indicated in Appendix E of DEAP 2008 Edition, Version 3.1 (rounded to the nearest 0.1%).

Entry 19	Efficiency Category [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| HARP | 1 | Not currently used. |
| HARP | 2 | Calculated from certified data |
| HARP | 3 | Estimated (entries in this category can only be supplied by SEAI) |
| HARP | 4 | Manufacturer Declaration |

Entry 20	Ignition [1 digit]

Whether or not the heater has a permanent pilot light

| Definition | Entry code | Notes |
| --- | --- | --- |
| No | 1 | Boiler does not have a permanent pilot light |
| Yes | 2 | Boiler has a permanent pilot light |

Entry 21	Burner Control [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| On/Off | 1 | Where the roomheater firing rate is not controlled by thermostat or other device. |
| Variable | 2 | Capable of being switched between full and minimum burn rate (or off) by a thermostat or time switch. |

Entry 22	Electrical Power (Firing) [up to 4 digits] – if measured

| Definition | Entry code | Notes |
| --- | --- | --- |
| Roomheater on | Input actual value (W) | This is the average electrical power consumed while the roomheater is firing at its highest rating, in Watts. This includes fans, motors, heaters and other electrical equipment. |

Entry 23	Electrical Power (Not Firing) [up to 4 digits]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Roomheater off | Input actual value (W) | This is the average electrical power consumed while the roomheater is adjusted to fire at its highest rating (but is not firing), in Watts. This includes fans, motors, heaters and other electrical equipment. |

Entry 24	Trade Association [up to 50 characters]

The name of the Trade Association representing the appliance type submitted.

Entry 25	Date

Date that form is submitted.

Entry 26-29	Name, Position, E-mail Address & Signature of Person completing form

Is should be noted that this form must be signed by the Technical Director or equivalent of the company making the submission.  If someone other then the Technical Director signs the forms it is a requirement that suitable documentary evidence of the authority of the signatory is provided.

## Appendix 1

## Manual Data Entry

## Form

[one to be completed for each Gas & Oil Fire / roomheater model submitted]

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

Data Entry and Declaration Form

DOMESTIC GAS & OIL FIRES AND ROOMHEATERS (WITHOUT BOILERS)

(One to be completed for each Gas & Oil Fires and Roomheater type you wish to appear on the HARP Database – please photocopy as many forms as you require).

NB	MANDATORY ENTRIES ARE PRINTED IN BOLD

| Entry No | Entry Title |  | Entry Value |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Manufacturer Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Current Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Second addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Primary addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Designated Street name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Locality name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Town/City name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Administrative area name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Country (if not UK) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Telephone No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Manufacturer’s Website Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Brand Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Model Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Model Qualifier |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Heater ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## First Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Final Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fuel |  | 1 |  |  |  |  |  |  | 2 |  |  |  |  |  |  | 4 |  |  |  |  |  |  |
|  | Flue Type |  | 1 |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  |  |  | 4 |  |  |
|  | Fan assistance |  | 1 |  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |
|  | Nominal Heat Input |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | kW |  |  |  |
|  | Reduced Heat Input |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | kW |  |  |  |
|  | Certified Efficiency at Nominal Heat input |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | % |  |  |  |
|  | ## DEAP Gross Seasonal Efficiency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## % |  |  |  |
|  | ## Efficiency Category |  |  |  | ## 1 |  |  |  |  |  | ## 2 |  |  |  | ## 3 |  |  |  |  |  |  | ## 4 |  |
|  | ## Ignition |  |  |  | ## 1 |  |  |  |  |  |  |  |  |  | ## 2 |  |  |  |  |  |  |  |  |
|  | ## Burner Control |  |  |  | ## 1 |  |  |  |  |  |  |  |  |  | ## 2 |  |  |  |  |  |  |  |  |
|  | ## Electrical Power* (Firing) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Watts |  |  |  |  |  |
|  | ## Electrical Power* (Not-Firing) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Watts |  |  |  |  |  |
|  | ## Trade Association |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## THIS SHADED SECTION MUST BE COMPLETED FOR ALL SUBMISSIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Product Identification (please circle)* |  |  |  |  |  | ## 1a |  |  | ## 1b |  |  | ## 1c |  |  |  | ## 2d |  |  | ## 2e |  |  |  | ## 2f |
|  | ## Date of Submission |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Name of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Submitter E-mail Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Position of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Notes | * | ## Please identify how product is identified (refer to Appendix 3 for criteria) and circle those combinations that apply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

By signing this form I also declare that all the other information included in my returns are correct and that I am the Technical Director (or equivalent).

### Appendix 2

Badged Gas & Oil Fires and Roomheater Form

[one to be completed for each badged roomheater submitted & signed by Technical Director or equivalent]

[Please note that an actual dataplate for each model submitted is required]

### HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

### “Badged” Roomheater Form

(Please photocopy as many as you require)

| Declaration of Similarity for “Badged” Products |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This form confirms that the roomheater (termed the “Badged model”) is the same in all material respects (excluding cover) including thermal performance as a roomheater (termed the “Master model”) for which a BED Certificate is available from a Notified Body |  |  |  |  |  |  |  |
| Name of “Master Brand” | Name of “Master Model” |  |  |  |  | “Master Model” Qualifier |  |
| Name of “Badged Brand” | Name of “Badged Model” |  |  |  |  | “Badged Model” Qualifier. |  |
| Badged Model Roomheater Power |  | Lowest rating (kW) |  |  | Highest rating (kW) |  |  |
| Are the two heaters currently made in the same factory? (The manufacturer is required to supply literature to prove the badged roomheater is the same in all material respects (excluding cover) including thermal performance as the master roomheater listed here) |  |  |  |  |  |  | #### YES |
|  |  |  |  |  |  |  | NO |
| If NO, or if the “Master Model” is out of production please enclose details of any QA system that is in place to ensure product quality and similarity. |  |  |  |  |  |  |  |
| I hereby confirm that the “Badged Model” listed above has the same thermal performance as the “Master Model”. |  |  |  |  |  |  |  |
| Signature |  |  | Date |  |  |  |  |
| Name (Please print) |  |  | Position |  |  |  |  |

### Appendix 3

Product Identification Route

[Please note that an actual dataplate for each model submitted is required]

Route to Product Identification

As described in section 1.2 it is essential that Registered Assessors can readily identify roomheaters.  To this end a mechanism has been devised to assist in the confirmation that a roomheater can be easily identified.

Firstly the means of identifying the roomheater needs to be established.  It is anticipated that the following sets of circumstances may apply to most roomheater products:-

- What product information is shown on the roomheater case?  Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information

- No brand and name information

- What product information is visible (by means of a moveable or removable panel) and accessible (without the use of tools) to the householder? Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information which together with 1b gives unique description of this product

- No brand and name information, or insufficient to provide a unique description

“Unique” means distinct from any other product entered, or about to be entered, in the database.

In order to meet unique description requirements applications can only be accepted in the following circumstances:

1a OR 1b + 2d or 1b + 2e OR 1c + 2d

In any of the above cases photograph(s) should be provided to demonstrate that the product description can be verified by these routes.

In all other circumstances (i.e., 1b + 2f, or 1c + 2f) applications will be refused, as it will considered that in such cases the Registered Assessor will not be able to readily identify the product.

### Appendix 4

Submission Check List

| Gas & Oil Fires and Roomheater Data Submission Check-list |  |  |
| --- | --- | --- |
| For each roomheater model you submit, please check that you have included all relevant data and supporting evidence as follows:- |  |  |
| Form or method of data submission | Where you can find it |  |
| Manual Data Entry and Declaration Form | Appendix 1 |  |
| Gas & Oil Fires and Roomheater Identity Form - your declaration of similarity for “Badged” products | Appendix 2 |  |
| An actual example of the Gas & Oil Fires and Roomheater dataplate (i.e. the plate or label fixed to the appliance) | In your product’s technical file |  |
| Photographic Evidence of Gas & Oil Fires and roomheater identification (i.e. photos clearly showing how the product is uniquely identified by the Registered Assessor – making clear whether they are visible [on the case or via accessible control panel]) | See Appendix 3 |  |
| Extract(s) from Technical Report recording efficiency data as measured [Note: this must include independent certified evidence from a Notified Body that the efficiency data presented was measured in accordance with the methods required by the Construction Products Directive and or relevant Standards] | In your product’s technical file |  |
| Copy of CE Certificate for the model submitted | In your product’s technical file |  |
| Please Note: The working language of the database is English – submissions from International Notified Bodies should include translations into English |  |  |

### Note:  Those items that are mandatory requirements for each roomheater application are highlighted in bold print

### Appendix 5

List of Heating Products published on the HARP Database

List of Heating Products published on the HARP Database

- Gas & Oil Boilers

- Cooker Boilers

- Gas & Oil Fires and Boilers

- Heat Pumps

- Solar Heating Appliances

- Gas & Oil Fires and Roomheaters

- Solid Fuel Roomheaters

All of the above listed products are published on the HARP Database.

Separate Submission Guidance Notes are available for each of these product types.  These Guidance Notes may be obtained either from SEAI direct or via the website www.seai.ie/harp .

### Appendix 6

Glossary of Terms

Glossary of Terms

| Term | Definition |
| --- | --- |
| Badged Gas & Oil Fires and Roomheater | A Gas & Oil Fires and Roomheater that is sold under a different name but is identical in all technical & performance characteristics to the master model (see below) |
| BER | Building Energy Rating as required to meet Article 7 of the EBPD (this includes a BER Label and BER Advisory Report) |
| CPD | Construction Products Directive |
| DEAP | Dwellings Energy Assessment Procedure |
| EPBD | Energy Performance of Buildings Directive 2002/91/EC |
| HARP Database | The Home-heating Appliance Register of Performance Database |
| Master Gas & Oil Fires and Roomheater | The original Gas & Oil Fires and Roomheater from which badged heaters are derived. The badged roomheater differs in name only – all performance & technical characteristics are identical to the Master Roomheater |
| Registered Assessor | A DEAP software user that is registered with the National EPBD Administration System as an official BER Assessor |
| SEAI | The Sustainable Energy Authority of Ireland |
| User | Any person that uses the HARP Database, including Registered Assessors, public authority personnel, administrators or any other persons |