GUIDANCE NOTES FOR SUBMISSIONS TO THE SUSTAINABLE ENERGY AUTHORITY OF IRELAND (SEAI) HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

(HEAT PUMPS ONLY)

Contents

1	Introduction

  - Heat Pump Data

  - Efficiency Data

  - Route to Product Identification

2	Help and Advice on Supplying Efficiency Data

2.1	How go I make a Submission to the Database?

2.2	Manual Entry

## Appendix 1		Manual Entry Forms

Appendix 2	Heat Pump Identity Form

Appendix 3		Route to Product Identification

Appendix 4		Testing Body Declaration Form

Appendix 5		Submission Check List

Appendix 6		List of Heating Products published on the HARP Database

Appendix 7		Glossary of Terms

Appendix 8	Treatment of Exhaust Air Heat Pumps in DEAP

Appendix 9 		Treatment of Devices Tested to EN255-2:1997

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

- Introduction

The Sustainable Energy Authority of Ireland (SEAI) is Ireland's national energy authority with a mission to promote and assist the development of sustainable energy. This encompasses environmentally and economically sustainable production, supply and use of energy, in support of Government policy, across all sectors of the economy. Its remit relates mainly to improving energy efficiency, advancing the development and competitive deployment of renewable sources of energy and combined heat and power, and reducing the environmental impact of energy production and use, particularly in respect of greenhouse gas emissions.

One of SEAI's responsibilities is to assist the Department of Communications, Marine and Natural Resources and the Department of the Environment, Heritage and Local Government in implementing the EU Energy Performance of Buildings Directive (EPBD) [2002/91/EC] in Ireland.

Articles 4 and 5 of the EPBD require that new buildings meet minimum energy performance requirements, which in Ireland's case will be specified in the Building Regulations and Technical Guidance Document Part L.

Furthermore, Article 7 of the EPBD requires that an energy performance certificate is made available to prospective buyers or tenants when a building is constructed, sold or rented out. Throughout these Guidance Notes this requirement will be termed “building energy rating” (BER). A BER includes the label and the advisory report.

In Ireland, the approach will be to adopt not only an official national method and one official software tool that all Registered Assessors will use to carry out a BER for a dwelling.

The official national method has been developed and is entitled the “Dwelling Energy Assessment Procedure” (DEAP) and it will be used to demonstrate compliance with the Building Regulations and for preparing BERs.

1.1	HEAT PUMP DATA

The primary purpose of the Database is to support the Irish Government’s Dwelling Energy Procedure (DEAP) for energy rating of dwellings by providing reliable data on the efficiency and other relevant characteristics of domestic Heat Pumps.

These Guidance Notes deal specifically with the submission of data relating to domestic Heat Pumps only.  Other notes exist for other domestic heating products published on the database (see Appendix 4).  These may be obtained via the website (http://www.seai.ie/harp).

Subsets of data extracted from the definitive database will be published in two forms; one for Registered Assessors as a computer-readable file, and the second as publicly available product information – all on an Internet web site (http://www.seai.ie/harp).  The published data will be updated at monthly intervals.

Manufacturers may submit further data on new products at any time. These applications will be dealt with within an agreed time target.

When Heat Pumps published on the database go out of production, SEAI (or their contractor) should be notified so that the entry can be updated.  The data will still be held so that Registered BER Assessors can make reference to it as required.

You should be aware that once data relating to a particular Heat Pump has been published, any modifications to that product which may affect its seasonal efficiency rating must be submitted in the form of a clearly identifiable “new” entry complete with a modified model identity.  Product names in the database must be unique, and it is not possible to have two entries with the same conjunction of brand name, model name and qualifier and fuel type.  This is to enable a Registered Assessor to differentiate between the modified and un-modified products in the marketplace.

1.2	EFFICIENCY DATA

The purpose of this database is to hold energy efficiency performance calculations for domestic heating appliances.  These notes are concerned with efficiency data for domestic air-to-water, water-to-water, brine-to-water and exhaust air to water heat pumps. These notes have now been expanded to include provision for direct exchange, air/air, water/air, brine/air, exhaust air with brine loop heat pumps and heat pumps using CO2 refrigerant.

1.2.1 Air/water (A/W), water/water (W/W) and brine/water (B/W) heat pumps

The heat pump SPF (Seasonal Performance Factor) used in the DEAP is designed to reflect the actual performance of heat pumps based on environmental and system conditions likely to be experienced in Irish installations.  There are three methods of determining heat pump SPF for the purposes of DEAP assessments and these are detailed below.

- In cases where accredited test data is not supplied a conservative default SPF figure will be used. These defaults are taken from DEAP Table 4a and are as follows:

Table 1 Default SPF values

| Type of heat pump | Default SPF value (%) |
| --- | --- |
| Air/water | 250 |
| Brine/water and water/water (without auxiliary heater) | 320 |
| Brine/water and water/water (with auxiliary heater) | 300 |

(2) In cases where a full efficiency test to EN 14511 (Parts 1 to 4) has been carried out then the following data should be provided as per Table 2 and Table 3 detailed below. This is the preferred option when determining heat pump SPF.

This efficiency factor may be used in DEAP for the efficiency of the space heating system.

The efficiency factor is the mean COP for the test temperatures specified in the Table 2 or Table 3 for the applicable system type.  Efficiency data must be supplied from a laboratory or organisation suitably accredited for making such measurements.  An example of this accreditation could be ISO 17025. Table 2 and Table 3 refer to units tested according to EN14511. Any units tested according to EN255-2:1997 should refer to Appendix 9 of this document.

If a manufacturer wishes to supply multiple products with technical differences (for example, rated output power or changing from or to single and 3-phase power supply) then a single test report may be used for multiple products provided that the accredited test body explicitly clearly declares the identity of each product model to which the test results can be applied.

Table 2 Test Temperatures for Calculating Heat Pump Efficiency Factor (EN14511 measurements)

| System type | Temperature Range | Outdoor heat exchanger |  | Indoor heat exchanger |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Inlet dry bulb temp (oC) | Inlet wet bulb temp (oC) | Inlet temp (oC) | Outlet temp (oC) |
| Air to Water | 7 – 45 | 7 | 6 | 40 | 45 |
|  | 7 – 35 | 7 | 6 | 30 | 35 |
|  | 2 – 35 | 2 | 1 |  | 35 |
| Water to Water | 10 – 45 | 10 | 7 | 40 | 45 |
|  | 10 – 35 | 10 | 7 | 30 | 35 |
| Brine to Water | 0 – 45 | 0 | -3 | 40 | 45 |
|  | 0 – 35 | 0 | -3 | 30 | 35 |
|  | 5 – 35 | 5 |  |  | 35 |

Table 3a Test Temperatures for calculating Heat Pump Efficiency Factor for Exhaust Air Heat Pumps (sourcing external heat from air) (EN14511 measurements)

| Rating conditions | Source heat exchanger (exhaust duct) |  | Sink heat exchanger (water storage vessel) |  |
| --- | --- | --- | --- | --- |
|  | Inlet dry bulb temp (oC) | Inlet wet bulb temp (oC) | Inlet temp (oC) | Outlet temp (oC) |
| Outdoor air | 7 | 6 | 40 | 45 |
| Exhaust Air | 20 | 12 | 40 | 45 |
| Outdoor air (for floor heating or similar application) | 7 | 6 | 30 | 35 |

Table 4b Test Temperatures for calculating Heat Pump Efficiency Factor for Exhaust Air Heat Pumps (sourcing external heat from brine) (EN14511 measurements)

| Rating conditions | Source heat exchanger | Sink heat exchanger (water storage vessel) |
| --- | --- | --- |
| Standard condition (brine) | 0 | 45 |
| Application condition (brine) | 5 | 45 |
| Application condition (brine - floor heating) | 5 | 35 |

In order to include performance data on exhaust air heat pumps within the DEAP calculation procedure, the guidelines included in Appendix 8 of this document must be followed.

Renewables Compliance to Building Regulations Renewables Contribution Requirement (Part L Amendment) – Exhaust Air Heat Pumps Only Test Temperatures for calculating Heat Pump Efficiency Factor for Exhaust Air Heat Pumps (sourcing external heat from air) (EN14511 measurements) in respect of Part L Renewables Contribution Requirements are the same as for air to water heat pumps in Table 2 above. When using DEAP to evaluate a dwelling's compliance to the renewables requirement described under Technical Guidance Document (TGD) to Part L 2008 section 1.2 or TGD L 2011 section 1.2, the same method as outlined above is used with an alteration to the SPF. The three test points which should be used for renewables compliance checking for an Exhaust Air Heat Pump are A2/W35; A7/W35 and A7/W45. The COPs from EN14511 at these test points are averaged to obtain the SPF when evaluating the renewables compliance of the dwelling. The database makes provision to include this Part TGD L SPF figure and it can be calculated if the data identified in Table 2 is provided. The SPF based on Table 3a applies to all aspects of BER and TGD L compliance other than the aforementioned TGD L renewables compliance.

The database also provides a field to hold the energy efficiency class, expected to be defined later in a European Council directive for energy labelling.  This field is to be left blank until the European labelling scheme has been defined.

If a heat pump is tested to standard EN255-2 rather than EN14511 then Appendix 9 should be used for guidance when determining COP values.

(3) The third option for submission of efficiency data is using a partial data set.  Any partial test data must be from the accredited sources previously outlined (EN 17025, tested to EN 14511 or EN 255-2).  If MCS, Ecolabel or EHPA certification is used as the basis for a HARP submission the product will be assigned, for the test points defined for those schemes, the minimum COP values required by those schemes. The methods defined by HARP for dealing with partial data sets will be applied to those data. For all other COPs used during a HARP submission, the normal rules apply (Test results from an accredited laboratory are needed).

The key points are noted in the following tables and are based on the premise that a partial test data set should result in a lower SPF than that which would apply if all the relevant temperature test points were made available as per (2) above.

If all the relevant test points as specified by SEAI (as detailed in Table 2) are available then they must be used.  Otherwise one of the following options may be used:

Table 4 Brine/water (B/W) partial test data

a. SPF taken directly from the COP measured at B0/W45

b. SPF taken from the COP at B5/W35 and multiplied by 0.8

c. SPF taken from the COP measured at B0/W35 and multiplied by 0.9

Notes:

Option (c) of Error: Reference source not found gives the applicable multiplier for products using EHPA listing for HARP e.g. a B/W heat pump would have an SPF of 0.9*4 = 360%.

Option (c) of Error: Reference source not found gives the applicable multiplier for products using Ecolabel listing for HARP e.g. a B/W heat pump would have an SPF of 0.9*4.3 = 387%.

Option (c) of Error: Reference source not found gives the applicable multiplier for products using MCS listing for HARP e.g. a B/W heat pump would have an SPF of 0.9*3.5 = 315%.

Table 5 Water/water (W/W) partial test data

a. SPF taken directly from the COP measured at W10/W45

b. SPF taken from the COP measured at W10/W35 and multiplied by 0.85

Notes:

Option (b) of Table 5 gives the applicable multiplier for products using EHPA listing for HARP e.g. a W/W heat pump would have an SPF of 0.85*4.5 = 382.5%

Option (b) of Table 5 gives the applicable multiplier for products using Ecolabel listing for HARP e.g. a W/W heat pump would have an SPF of 0.85*5.1 = 433.5%

Option (b) of Table 5 gives the applicable multiplier for products using MCS listing for HARP e.g. a W/W heat pump would have an SPF of 0.85*3.8 = 323%

Table 6 Air/water (A/W) partial data

a. SPF taken from COP at either A7/W45 or A2/W35 multiplied by 0.95

b. SPF taken from the COP at A7/W35 and multiplied by 0.8

Notes:

Option (a) of Table 6 gives the applicable multiplier for products using EHPA listing for HARP e.g. an A/W heat pump would have an SPF of 0.95*3 = 285%

Option (a) of Table 6 gives the applicable multiplier for products using Ecolabel listing for HARP e.g. an A/W heat pump would have an SPF of 0.95*3.1 = 294.5%

Option (b) of Table 6 gives the applicable multiplier for products using MCS listing for HARP e.g. an A/W heat pump would have an SPF of 0.8*3.2 = 256%

Products using MCS, EHPA or Ecolabel listings for the purposes of HARP should use their efficiency data as set out above with regards to partial test data sets.

As an additional source of data for these types of heat pumps, WPZ bulletin listing may be used for the purposes of DEAP and HARP.  Any test results from this source must be from a testing body accredited to EN 17025.

Test results on the Eurovent website can also be accepted although they do not list all of the required test points listed in this document (and therefore conservative multipliers will apply as outlined in this document).

Be aware that results from MCS, EHPA, Ecolabel, Eurovent and WPZ are applied to the method and test points outlined in this section (so for example in the case of EHPA, the test result set from these sources may be only partial).

1.2.2 Direct Exchange heat pumps (DX)

In some cases, direct exchange heat pumps may be been tested according to EN 14511 in which case the EN 14511 values for the B/W test points B5/W35, B0/W35 and B0/W45 should be used.  If these test points are not available then the closest points to these should be used.

If this method is used, SEAI and the HARP administrators will determine if the test points are appropriate or if alternatives should be used.

There is also a specific standard EN 15879 (Testing and rating of direct exchange ground coupled heat pumps with electrically driven compressors for space heating and/or cooling) available.  If this is used, the test points taken should be 4/35, 1.5/35 and 1.5/45 so as to remain analogous to the SPF calculation for the B/W heat pumps.  The average of the COPs at these test points is taken as the SPF for HARP. See Table 7 below for details of the relevant test points.

Table 7 Direct exchange heat pump test points from EN 15879

|  |  | In-ground heat exchanger | Indoor heat exchanger |  |
| --- | --- | --- | --- | --- |
|  |  | Bath temperature (°C) | Inlet temperature (°C) | Outlet temperature (°C) |
| Standard rating conditions | DX/water or DX/brine for low temperature applications | 4 | 30 | 35 |
| Application rating conditions | DX/water or DX/brine for low temperature applications | 1.5 | 30 | 35 |
|  | DX/water or DX/brine for medium temperature applications | 1.5 | 40 | 45 |

1.2.3 Air/air, water/air and brine/air heat pumps

Test points to be used for these types of heat pumps are from EN 14511-2 and are for heating air directly.  These units are not capable of heating domestic hot water and so have lower output temperatures. The temperatures to be used are as follows and the COPs averaged for those test points to give the SPF value for HARP:

Table 8 Air/air heat pump test data

|  |  | Outdoor heat exchanger |  | Indoor heat exchanger |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Inlet dry bulb temperature (°C) | Inlet wet bulb temperature (°C) | Inlet dry bulb temperature (°C) | Inlet wet bulb temperature (°C) |
| Standard rating conditions | Outdoor air/recycled air | 7 | 6 | 20 | 15 max |
| Application rating conditions | Outdoor air/recycled air | 2 | 1 | 20 | 15 max |

For A/A, if the data is available to calculate the SPF using (a) below it must be used.  Otherwise, partial data can be used as follows:

Table 8a: Air/air heat pump - partial test data

a. SPF in HARP/DEAP based in test results for both test points as specified in table 8 above

b. SPF taken directly from the COP measured at A2/A20

c. SPF taken from the COP measured at A7/A20 and multiplied by 0.85

Note that at the time of publication of this Heat Pump Submission Pack (Version 4 initially published June 2011), Eurovent published data for A/A units in heating mode implies only the A7/A20 COP. Therefore HARP submissions for A/A units in heating mode using Eurovent published COP should be multiplied by 0.85. A2/A20 COP of 290% can be used as the HARP SPF for Ecolabel listed A/A heat pumps based on option (b) of Table 8a. A7/A20 of 300% is multiplied by 0.85 giving an SPF of 255% based on option (c) of Table 8a for MCS listed A/A heat pumps.

In the case of Air heating heat pumps (particularly Air to Air units), test result reports or product listings (such as Eurovent) may list several test results for each test point of a single heat pump. This is usually to cater for different heat pump & emitter configurations. In this case, the COP for each available test point should be calculated based on the average of the values shown for that heat pump.

Likewise, the rated capacity figure (see Entry 13 below) for a heat pump should be based on the average of the values available.

For example, taking Eurovent data showing A7/A20 COP and rated capacity figures for a heat pump entitled “XYZ” with four different configurations as follows:

Heat pump XYZ configuration “a”: COP = 3.33; Rated Capacity = 5.8kW

Heat pump XYZ configuration “b”: COP = 3.42; Rated Capacity = 5.7kW

Heat pump XYZ configuration “c”: COP = 3.46; Rated Capacity = 5.8kW

Heat pump XYZ configuration “d”: COP = 3.39; Rated Capacity = 5.9kW

The A7/A20 COP figure for heat pump XYZ is 3.4. The SPF is this figure multiplied by 0.85 = 2.89.

The rated Capacity for this product is 5.8kW.

In the case of W/A (Water to Air) heat pumps, the COP at the test point W10/A20 is used as the SPF. In the case of B/A heat pumps (Brine to Air) the COPs measured at B0/A20 and B5/A20 are averaged to give the SPF as shown in table 9.

Table 9: Water/air and brine/air heat pump test data: relevant test points.

|  |  | Outdoor heat exchanger |  | Inlet heat exchanger |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Inlet temperature (°C) | Outlet temperature (°C) | Inlet dry bulb temperature (°C) | Inlet wet bulb temperature (°C) |
| Standard rating conditions | Brine | 0 | -3/ | 20 | 15 max |
| Application rating conditions | Water | 10 |  | 20 | 15 max |
|  | Brine | 5 |  | 20 | 15 max |

B0/A20 COP of 340% can be used as the HARP SPF for Ecolabel listed B/A heat pumps as it is the more pessimistic option from Table 9 for B/A heat pumps.

1.2.5 Heat pumps using CO2 refrigerant

These heat pumps will be listed on HARP using EN 14511 as the test standard and using the test points outlined previously depending on the heat source/sink for the heat pump.

1.3	PRODUCT IDENTIFICATION

It is essential that descriptions obtained from the database allow a Registered Assessor to identify an installed Heat Pump reliably. Assessors are not heating experts, and will examine only the information on Heat Pumps that is readily visible to the householder.  The route to Heat Pump identification should be viewed as follows:

- The product must have a unique description (i.e. distinct from any other product entered, or about to be entered, in the database).  The description is made up of Brand Name, Model Name and Qualifier.

- It must be possible for the Registered Assessor to identify the specific product from readily visible information.

- Readily visible information is considered to be markings/labels on the outer case that can be seen.  In addition markings/labels that can be read by means of a user moveable panel.  A user moveable panel is considered to be one that may be hinged (e.g. flap or door) or a panel that can be removed without the use of tools and is intended to be used by the householder. If tools are required to open/remove the panel, it is not considered a user moveable panel.

- In order to demonstrate that product information is readily visible photographs will need to be supplied clearly demonstrating how the unique product description can be derived as described in 3 above.  No submissions will be accepted where this evidence cannot be supplied.

The process by which a product description is verified is given in Appendix 3.

It should be noted that where a unique product description cannot be demonstrated (normally by means of photographs) an entry to the database will be denied.

2	Help and Advice on Heat Pump Efficiency Data

2.1	How do I make a submission to the Database?

A submission is made using the data entry forms provided at the back of this guidance booklet.  Detailed advice on completing the main data entry form (Appendix 1) is given in section 2.2.

As well as the basic Heat Pump data you will need to provide, there are a number of accompanying forms and pieces of evidence you will also need to supply.  To help clarify what this is, a table is presented below listing the forms you will need in various submission scenarios.  Although this cannot be guaranteed to be exhaustive in all cases it should cover most.

Heat Pump Submission Scenarios and Forms/Evidence required

| Forms/Evidence required | Submission scenario |  |
| --- | --- | --- |
|  | Original Heat Pump | Badged Version |
| Manual Data Entry Form (1) |  |  |
| Badged Heat Pump Form (2) | N.A. |  |
| Product Identification Photographs (3) |  |  |
| Data plate |  |  |
| Efficiency Data |  |  |

Note: Numbers in brackets indicate the Appendix number where the appropriate form or further information can be found.

For each Heat Pump submitted there must be the accompanying paperwork as indicated in the above matrix.  As a further aid a submission checklist is provided in Appendix 5

It is important that all forms requiring signature be signed by the Technical Director of the submitting company.

Where the submission is made on behalf of the manufacturer by an Irish supplier, a letter of authority must be provided by the manufacturer declaring their relationship with the Irish supplier. This letter must give authority for the supplier to act on their behalf in signing submission forms and making submissions.

2.1	Manual Entry

A set of manual data entry forms is included in Appendix 1 – please photocopy as many as you need for all of your product data.  One complete set of forms should be completed for each Heat Pump.

Please take great care when writing in each of the boxes.  Special care is needed when recording results from any testing body.  Please note that the accreditation information must be substantiated with appropriate copies of accreditation certificates and test reports.  Failure to provide this evidence may prevent your product from receiving its full listing in the database.  Each form contains a signature box for the Technical Director or the equivalent person in your organisation to affirm the quality of the information supplied.  Please note that you are also required to send an actual data plate for each Heat Pump submitted.

The data entry form has been designed with subsequent data input in mind.  Overleaf are some explanatory notes to help you fulfil the requirements.

NB	MANDATORY ENTRIES ARE PRINTED IN BOLD

There is a requirement for consistency in naming (a) your Company (b) the brand and (c) the actual models submitted.  We will be making amendments as and when required to both categories and you should pay particular attention to that when checking your confirmation reports.

Entry 1	Manufacturer Name [up to 50 characters]

This is the name of the Heat Pump manufacturer or company responsible for the Heat Pump in the Ireland at the time the Heat Pump was manufactured – as it appears on the product casing and/or the owners’ instruction leaflets.  Please omit punctuation marks and spaces between initials.  Once we have confirmed a manufacturer name this format will be used for all future entries appearing under that name.

Entry 2	Current Name [up to 50 characters]

This is the current name of the Manufacturer or Company responsible for this Heat Pump in the Ireland.  This may be different to the original name – if not mark “as above”.

NB	If the same Heat Pump model is sold under more than one Manufacturer’s name, then you should complete the Heat Pump Identity Form in Appendix 2 giving the other identities so that separate entries can be included on the database.

Entry 3	Address [up to 365 characters in total]

This format is as recommended in BS7666: Part 3 Section 2 Table 2 – hence the terminology.  If your company does not have an Irish or UK address, then please try to match the format as closely as possible.

- Secondary addressable object name [e.g. Design Division] - up to 60 characters

- Primary addressable object name [e.g. Big House] - up to 60 characters

- Designated Street name - up to 100 characters

- Locality name [if appropriate] - up to 35 characters

- Town/city name - up to 30 characters

- Administrative area name [e.g. County] - up to 30 characters

- Postcode - up to 20 characters

- Country – if not Ireland or UK - up to 30 characters

Entry 4	Telephone number 	[up to 25 characters]

Entry 5		Website address		[up to 75 characters]

This is the actual home website address for the manufacturer [in the usual .ie or .com configuration].  It will be used to provide a hotlink from each Heat Pump record to the specific manufacturer’s website.

Entry 6	Brand Name [up to 50 characters]

This is the name of the product brand.  It is anticipated that this name will reflect the manufacturer name.  It is intended that this field be used for the brand instead of including it in the Model Name (e.g. model name: ACME 123 would be Brand Name: ACME; Model Name 123).

Entry 7	Model Name [up to 50 characters]

This should be the name as it appears on the Heat Pump casing or leaflet of owners’ instructions.

NB	As highlighted in Entry 2’s notes, separate entries are required for each model if the same Heat Pump is sold under more than one model or brand name.

Entry 8		Model qualifier [up to 30 characters]:-

This is for recording any special qualifier to the model name, which may have been used to discriminate between different versions of the same model. Examples include ground source models installed with either as water/water or as brine/water or models where a single phase and a 3-phase version of the product is available.

Entry 9		Appliance ID [up to 40 characters]

This is the Heat Pump identifier which, when used in conjunction with the manufacturer’s name, is unique for the model and all other characteristics affecting efficiency.  Where known, this provides an effective short cut for identification. It could be any unique identifier chosen by the manufacturer and clearly marked on the appliance.  If not known, please leave blank.

Entry 10		First year of manufacture if known [up to 4 characters]

If you do not know, give your best estimate of the year or just leave blank.

Entry 11	Final year of manufacture [up to 8 characters]

Enter “current” if the model is still in production.  If the model is no longer produced, but you do not know the final year of manufacture, then either enter your best estimate of the year or simply enter “obsolete”.

Entry 12	Main Type [2 digits]

| Type | Code | Notes |
| --- | --- | --- |
| Water to Water | 3 |  |
| Air to Water | 4 |  |
| Brine to Water | 6 |  |
| Exhaust Air to Water | 7 |  |
| Air to Air | 8 |  |
| Water to Air | 9 |  |
| Brine to Air | 10 |  |
| Direct exchange | 11 |  |
| Exhaust air using brine loop | 12 |  |

Please note that the ‘maximum dwelling heat load’ has been removed from the HARP submission process.

Entry 13	Rated capacity

The maximum power output figure shown on the test report at one of the standard rating conditions on which the SPF is based.  If when using this method, more than one figure is available, then the higher figure should be used.  Only “standard rating conditions” can be used when determining the rated capacity and not the “application rating conditions”.

Heat pumps with rated capacity greater than 70kW are not permitted on the database.

Table 10 shows the relevant points:

Table 10 Relevant test points for rated capacity

| Water to Water | 10/45, 10/35 |
| --- | --- |
| Air to Water | 7/45, 7/35 |
| Brine to Water | 0/45, 0/35 |
| Exhaust Air to Water | 7/45, 7/35, 20/45 |
| Air to Air | 7/20 |
| Water to Air | 10/20 (note 1) |
| Brine to Air | 0/20 |
| Direct exchange | 4/35 |
| Exhaust air using brine loop | 0/45 |

Note 1: This is not a standard test point but test points for this technology are limited.

Entry 14	Seasonal Performance Factor (SPF)

[number of up to 5 characters - e.g. n.n] this is the mean COP for the test temperatures specified for the applicable system type (see Section 1.2).

This is the efficiency factor should be rounded to the nearest 0.1.  The COPs will have been obtained by one of the standard methods defined in Entry 16.  Please note that only data provided by a suitably accredited test laboratory will be accepted. Where partial data is supplied (e.g. EHPA, Ecolabel, MCS) then minimum COP values will be used in deriving the SPF as previously outlined in this document.  If you are supplying partial COP data which is better than the minimum defined by these schemes this MUST be supported by evidence from a suitable ISO 17025 accredited laboratory for the Standard in question.

Entry 15	Part L Seasonal Renewables Compliance Performance Factor (TGD L SPF)

ONLY APPLICABLE TO EXHAUST AIR HEAT PUMPS

[number of up to 5 characters - e.g. n.n] this is the mean COP for the test temperatures specified for the applicable system type (see Section 1.2, Table 2).

This is the efficiency factor should be rounded to the nearest 0.1.  The COPs will have been obtained by one of the standard methods defined in Entry 16.  Please note that only data provided by a suitably accredited test laboratory will be accepted.

This information is mandatory for Exhaust Air Heat Pumps.

Entry 16	EN Test Method Used [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| Electric | 1 | Measurements made to EN 14511: |
| Electric | 2 | Measurements made to EN 255-2: 1997 |
| Electric | 3 | Partial test data made to EN 14511 |
| Electric | 4 | Measurements made to EN 15879 |

F-gas information (only applicable to heat pumps using refrigerant)

Entry 17	Name of F-gas (refrigerant used)

This entry is only applicable if refrigerant gas is used in the heat pump.  The name of the refrigerant used (F-gas) needs to be entered e.g. R404a.  If the heat pump uses CO2 as the refrigerant this should be declared accordingly under this entry as CO2 or the equivalent F-Gas designation.

Entry 18	Quantity of F-gas in heat pump

[number up to 7 characters – e.g. nnn.nn]

Please specify the quantity (in kg) of refrigerant used in the heat pump.

Entry 19	Date

Date that form is submitted.

Entry 20-23	Name, E-mail Address, Position & Signature of Person completing form

It should be noted that this form must be signed by the Technical Director or equivalent of the company making the submission.  If someone other then the Technical Director signs the forms it is a requirement that suitable documentary evidence of the authority of the signatory is provided.

## Appendix 1

## Manual Data Entry

## Form

[one to be completed for each Heat Pump model submitted]

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

Data Entry and Declaration Form

HEAT PUMPS

(One to be completed for each Heat Pump type you wish to appear on the HARP Database – please photocopy as many forms as you require).

| Entry No | Entry Title | Entry Value |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Manufacturer Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Current Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Second addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Primary addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Designated Street name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Locality name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Town/City name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Administrative area name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Country (if not Ireland/UK) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Telephone No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Manufacturer’s Website Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Brand Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Model Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Model Qualifier |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Appliance ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## First Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Final Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Main Type | ## 3 | ## 4 |  | ## 6 | ## 7 |  | ## 8 | ## 9 |  | ## 10 |  | ## 11 |  | ## 12 |
|  | Rated capacity |  |  |  |  |  |  |  |  |  | kW |  |  |  |  |
|  | ## SPF |  |  |  |  |  |  |  |  |  |  | ## % |  |  |  |
|  | ## TGD L SPF |  |  |  |  |  |  |  |  |  |  | ## % |  |  |  |
|  | ## EN Test Method Used | ## 0 |  | ## 1 |  |  | ## 2 |  |  | ## 3 |  |  |  | ## 4 |  |
|  | ## Name of F-gas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Quantity of F-gas |  |  |  |  |  |  |  |  |  |  |  | ## kg |  |  |
| ## THIS SHADED SECTION MUST BE COMPLETED FOR ALL SUBMISSIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Product Identification (please circle)* |  | ## 1a |  |  | ## 1b |  |  | ## 1c | ## 2d |  |  |  | ## 2e |  | ## 2f |
|  | ## Date of Submission |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Name of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Submitter E-mail Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Position of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Notes | * | ## Please identify how product is identified (refer to Appendix 3 for criteria) and circle those combinations that apply |  |  |  |  |  |  |  |  |  |  |  |  |  |

By signing this form I also declare that all the other information included in my returns are correct and that I am the Technical Director (or equivalent).

### Appendix 2

Badged Heat Pump Form

[one to be completed for each badged Heat Pump submitted & signed by Technical Director or equivalent]

[Please note that an actual data plate for each model submitted is required]

### HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

### “Badged” Heat Pump Form

The manufacturer is required to supply literature to prove the badged heat pump is the same in all material respects, (excluding cover) including thermal performance and whether the power supply is single or 3-phase, as the master heat pump listed here.

(Please photocopy as many as you require)

| Declaration of Similarity for “Badged” Products |  |  |  |  |
| --- | --- | --- | --- | --- |
| This form confirms that the Heat Pump (termed the “Badged model”) is the same in all material respects (excluding cover) including thermal performance as a Heat Pump (termed the “Master model”) |  |  |  |  |
| Name of “Master Brand” | Name of “Master Model” |  | “Master Model” Qualifier. |  |
| Name of “Badged Brand” | Name of “Badged Model” |  | “Badged Model” Qualifier. |  |
| Badged Model Heat Pump Power | Lowest rating (kW) |  | Highest rating (kW) |  |
| Are the two heat pumps currently made in the same factory? (The manufacturer is required to supply literature to prove the badged heat pump is the same in all material respects (excluding cover) including thermal performance as the master heat pump listed here) |  |  |  | #### YES |
|  |  |  |  | NO |
| If NO, or if the “Master Model” is out of production please enclose details of any QA system that is in place to ensure product quality and similarity. |  |  |  |  |
| I hereby confirm that the “Badged Model” listed above has the same thermal performance as the “Master Model”. |  |  |  |  |
| Signature |  | Date |  |  |
| Name (Please print) |  | Position |  |  |

### Appendix 3

Product Identification Route

[Please note that an actual data plate for each model submitted is required]

Route to Product Identification

As described in section 1.2 it is essential that Registered Assessors can readily identify Heat Pumps.  To this end a mechanism has been devised to assist in the confirmation that a Heat Pump can be easily identified.

Firstly the means of identifying the Heat Pump needs to be established.  It is anticipated that the following sets of circumstances may apply to most Heat Pump products:-

- What product information is shown on the Heat Pump case?  Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information

- No brand and name information

- What product information is visible (by means of a moveable or removable panel) and accessible (without the use of tools) to the householder? Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information which together with 1b gives unique description of this product

- No brand and name information, or insufficient to provide a unique description

“Unique” means distinct from any other product entered, or about to be entered, in the database.

In order to meet unique description requirements applications can only be accepted in the following circumstances:

1a OR 1b + 2d or 1b + 2e OR 1c + 2d

In any of the above cases photograph(s) should be provided to demonstrate that the product description can be verified by these routes.

In all other circumstances (i.e., 1b + 2f, or 1c + 2f) applications will be refused, as it will considered that in such cases the Registered Assessor will not be able to readily identify the product.

### Appendix 4

Testing Body Declaration Form

DECLARATION OF PERFORMACE OF HEAT PUMPS FOR SUBMISSION TO HARP DATABASE

MADE BY

[Insert Name of Testing Body]

ON BEHALF OF

[Insert Name of Manufacturer]

| Heat Pump System Type 1 | Exhaust Air Heat Pumps Only 2 | EN Standard used | Original Heat Pump Name | Ireland Market Name (if different) | Mean COP | Rated Capacity 3 |
| --- | --- | --- | --- | --- | --- | --- |

- Please indicate if the system type is either Air to water, Water to Water or Brine to Water

- Please provide TGD L SPF value if the heat pump is an Exhaust Air type, see entry 15.

- See Entry 13

We declare that the mean COP test results detailed above have been obtained by means deemed to satisfy the requirements of EN14511.  The temperature criteria defined in Tables 2 and 3 of the Guidance Notes for Submissions to SEAI HARP Database (Heat pumps) have been satisfied in obtaining these results.

Where the Mean COP has been determined using EN255-2:1997 the temperature criteria defined in Appendix 9 of the Guidance Notes for Submissions to SEAI HARP Database (Heat pumps) have been satisfied in obtaining these results.

Evidence of Accreditation

Under SEAI submission rules the test data provided here must be supported by evidence that the Testing Body declaring this data is suitably accredited.  SEAI requires the Testing Body to confirm their accreditation status with respect to the test data provided.  Please complete the following table:

|  | - Insert Name/Date | - Copy Required |
| --- | --- | --- |
| - Accreditation Standard (e.g. ISO 17025) |  | - N.A. |
| - Accreditation Body Name |  | - N.A. |
| - Current Schedule of Accreditation |  | - Yes |
| Date of Accreditation Certificate |  | - Yes |

Signed on behalf of [Insert name of Testing Body]:	_______________________________

Date:							_______________________________

Print Name:						_______________________________

Position:						_______________________________

### Appendix 5

Submission Check List

| Heat Pump Data Submission Check-list |  |  |
| --- | --- | --- |
| For each Heat Pump model you submit, please check that you have included all relevant data and supporting evidence as follows:- |  |  |
| Form or method of data submission | Where you can find it |  |
| Manual Data Entry and Declaration Form | Appendix 1 |  |
| Heat Pump Identity Form - your declaration of similarity for “Badged” products | Appendix 2 |  |
| An actual example of the Heat Pump data plate (i.e. the plate or label fixed to the appliance) | In your product’s technical file |  |
| Photographic Evidence of Heat Pump identification (i.e. photos clearly showing how the product is uniquely identified by the Registered Assessor – making clear whether they are visible [on the case or via accessible control panel]) | See Appendix 3 |  |
| Extract(s) from Technical Report recording efficiency data as measured at appropriate temperatures specified in Table 2 or Table 3 when testing to EN14511 (or Appendix 9 for tests according to EN255-2:1997) | In your product’s technical file |  |
| Testing Body Declaration Form (this may be easier than obtaining test report copies) | See Appendix 4 |  |
| Please Note: The working language of the database is English – submissions from International Organisations should include translations into English |  |  |

### Note:  Those items that are mandatory requirements for each Heat Pump application are highlighted in bold print

### Appendix 6

List of Heating Products published on the HARP Database

List of Heating Products published on the HARP Database

- Gas & Oil Boilers

- Cooker Boilers

- Solid Fuel Boilers

- Heat Pumps

- Solar Heating Appliances

- Room heaters (solid fuel, gas, oil)

All of the above listed products are published on the HARP Database.

Separate Submission Guidance Notes are available for each of these product types.  These Guidance Notes may be obtained either from SEAI direct or via the website

http://www.seai.ie/harp.

### Appendix 7

Glossary of Terms

Glossary of Terms

| Term | Definition |
| --- | --- |
| Badged Heat Pump | A Heat Pump that is sold under a different name but is identical in all technical & performance characteristics to the master model (see below) |
| BER | Building Energy Rating as required to meet Article 7 of the EBPD (this includes a BER Label and BER Advisory Report) |
| DEAP | Dwellings Energy Assessment Procedure |
| EPBD | Energy Performance of Buildings Directive 2002/91/EC |
| HARP Database | The Home-heating Appliance Register of Performance Database |
| Master Heat Pump | The original Heat Pump from which badged Heat Pumps are derived. The badged Heat Pump differs in name only – all performance & technical characteristics are identical to the Master Heat Pump |
| Registered Assessor | A DEAP software user that is registered with the National EPBD Administration System as an official BER Assessor |
| SEAI | The Sustainable Energy Authority of Ireland |
| User | Any person that uses the HARP Database, including Registered Assessors, public authority personnel, administrators or any other persons |

### Appendix 8

### Treatment of Exhaust Air Heat pumps in DEAP

Refer to the BER FAQ to determine how Exhaust Air Heat Pumps are treated in DEAP: http://www.seai.ie/Your_Building/BER/BER_FAQ/FAQ_DEAP/Energy_Requirements/How_do_I_account_for_exhaust_air_heat_pumps_in_DEAP_.html

### Appendix 9

### Treatment of Devices Tested to EN255-2:1997

Treatment of Devices Tested to EN255-2:1997

The efficiency factor is the mean COP for the test temperatures specified in the following table for the applicable system type. Efficiency data must be supplied from a laboratory or organisation suitably accredited for making such measurements.  An example of this accreditation could be ISO 17025.

Table for Test Temperatures for calculating Heat Pump Efficiency Factor when tested according to EN255-2:1997

| System type | Temperature Range | Outdoor heat exchanger |  |
| --- | --- | --- | --- |
|  |  | Inlet dry bulb temp (oC) | Outlet temp (oC) |
| Air to Water | 7 – 50 | 7 (6) | 50 |
|  | 7 – 35 | 7 (6) | 35 |
|  | 2 – 35 | 2 | 35 |
| Water to Water | 10 – 50 | 10 | 50 |
|  | 10 – 35 | 10 | 35 |
| Brine to Water | 0 – 50 | 0 | 50 |
|  | 0 – 35 | 0 | 35 |
|  | 5 – 50 | 5 | 50 |

For “to air” type heat pumps the approach described in section 1.2.3 must be used, see reference scenario in section 1.2.3, pp 8 - 9 of these Submission Notes.