GUIDANCE NOTES FOR SUBMISSIONS TO THE SUSTAINABLE ENERGY AUTHORITY OF IRELAND (SEAI) HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

(SOLID FUEL HEATERS WITHOUT BOILERS ONLY)

Contents

1	Introduction

  - Solid Fuel Heater Data

  - Efficiency Data

  - Route to Product Identification

2	Help and Advice on Supplying Efficiency Data

2.1	How go I make a Submission to the Database?

2.2	Manual Entry

## Appendix 1		Manual Entry Forms

Appendix 2	Solid Fuel Heater Identity Form

Appendix 3		Route to Product Identification

Appendix 4		Submission Check List

Appendix 5		List of Heating Products published on the HARP Database

Appendix 6		Glossary of Terms

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

- Introduction

The Sustainable Energy Authority of Ireland (SEAI) is Ireland's national energy authority with a mission to promote and assist the development of sustainable energy. This encompasses environmentally and economically sustainable production, supply and use of energy, in support of Government policy, across all sectors of the economy. Its remit relates mainly to improving energy efficiency, advancing the development and competitive deployment of renewable sources of energy and combined heat and power, and reducing the environmental impact of energy production and use, particularly in respect of greenhouse gas emissions.

One of SEAI's responsibilities is to assist the Department of Communications, Marine and Natural Resources and the Department of the Environment, Heritage and Local Government in implementing the EU Energy Performance of Buildings Directive (EPBD) [2002/91/EC] in Ireland.

Articles 4 and 5 of the EPBD require that new buildings meet minimum energy performance requirements, which in Ireland's case will be specified in the Building Regulations and Technical Guidance Document Part L.

Furthermore, Article 7 of the EPBD requires that an energy performance certificate is made available to prospective buyers or tenants when a building is constructed, sold or rented out. Throughout these Guidance Notes this requirement will be termed “building energy rating” (BER). A BER includes the label and the advisory report.

In Ireland, the approach will be to adopt not only an official national method and one official software tool that all Registered Assessors will use to carry out a BER for a dwelling.

The official national method has been developed and is entitled the “Dwelling Energy Assessment Procedure” (DEAP) and it will be used to demonstrate compliance with the Building Regulations and for preparing BERs.

1.1	SOLID FUEL HEATER DATA

The primary purpose of the Database is to support the Irish Government’s Dwelling Energy Procedure (DEAP) for energy rating of dwellings by providing reliable data on the efficiency and other relevant characteristics of domestic Solid Fuel heaters.

These Guidance Notes deal specifically with the submission of data relating to domestic Solid Fuel heaters (without boilers) only.  Other notes exist for other domestic heating products published on the database (see Appendix 4).  These may be obtained via the website (www.seai.ie/harp ) or direct from SEAI.

Subsets of data extracted from the definitive database will be published in two forms; one for Registered Assessors as a computer-readable file, and the second as publicly available product information – all on an Internet web site (www.seai.ie/harp).  The published data will be updated at monthly intervals.

Manufacturers may submit further data on new products at any time. These applications will be dealt with within an agreed time target.

When Solid Fuels heaters published on the database go out of production, SEAI (or their contractor) should be notified so that the entry can be updated.  The data will still be held so that Registered Assessors can make reference to it as required.

You should be aware that once data relating to a particular heater has been published, any modifications to that product which may affect its seasonal efficiency rating must be submitted in the form of a clearly identifiable “new” entry complete with a modified model identity.  Product names in the database must be unique, and it is not possible to have two entries with the same conjunction of brand name, model name and qualifier and fuel type.  This is to enable a Registered Assessor to differentiate between the modified and un-modified products in the marketplace.

1.2	EFFICIENCY DATA

The purpose of this database is to hold energy efficiency performance calculations for domestic heating appliances.  These notes are concerned with efficiency data for domestic Solid Fuel heaters without boilers.  Although the database will contain other descriptive and technical details as well, all entries must include a DEAP seasonal efficiency value.  Each entry for a DEAP seasonal efficiency value has an efficiency category defined as follows: -

- Efficiency category 1: Not used at this time

- Efficiency category 2: Seasonal Efficiency based on certified data

Seasonal efficiency has been calculated by the method from the results of standard efficiency tests required to demonstrate compliance with the appropriate EN method, together with other information supplied.  The results of the standard tests have been certified by a suitably qualified Notified Laboratory (i.e. an independent test house deemed competent under European rules for heater testing under the CPD) and have been submitted with other supporting details.

- Efficiency category 3: Estimated

Efficiency has been taken from DEAP, based on heater type. Entries with efficiency category 3 are permitted for obsolete heaters only, which may not comply with the provisions of the Construction Products Directive.

Note:	Information relating to this category can only be supplied by SEAI

- Efficiency category 4: Manufacturer Declared Results

Seasonal efficiency has been calculated by the method from the results of standard efficiency tests required to demonstrate compliance with the appropriate EN method, together with other information supplied.  A suitably qualified Notified Laboratory has NOT certified the results of the standard tests.

For Solid Fuel heaters with efficiency category 2 only, the database will indicate an energy efficiency band.  For Solid Fuel heaters with other efficiency categories, the field for the efficiency band will be left blank.

The database also provides a field to hold the energy efficiency class, expected to be defined later in a European Council directive for energy labelling.  This field is to be left blank until the European labelling scheme has been defined.

Another useful source of data is HETAS.  HETAS is the official UK body recognised by government to approve solid fuel domestic heating appliances, fuels and services.  The following list of products with fuel types and efficiencies can be used as a source of test data for solid fuel heaters in HARP/DEAP provided the relevant test data is available: http://www.hetas.co.uk/pdfs/Part_1_Appliances.pdf.

1.3	PRODUCT IDENTIFICATION

It is essential that descriptions obtained from the database allow a Registered Assessor to identify an installed Solid Fuel heater reliably. Assessors are not heating experts, and will examine only the information on heaters that is readily visible to the householder.  The route to Solid Fuel heater identification should be viewed as follows: -

- The product must have a unique description (i.e. distinct from any other product entered, or about to be entered, in the database).  The description is made up of Brand Name, Model Name and Qualifier and Fuel type.

- It must be possible for the Registered Assessor to identify the specific product from readily visible information.

- Readily visible information is considered to be markings/labels on the outer case that can be seen.  In addition markings/labels that can be read by means of a user moveable panel.  A user moveable panel is considered to be one that may be hinged (e.g. flap or door) or a panel that can be removed without the use of tools and is intended to be used by the householder.  Alternatively a durable label securely fixed (e.g. by chain) that can be accessed safely by the Assessor. If tools are required to open/remove the panel, it is not considered a user moveable panel.

- In order to demonstrate that product information is readily visible photographs will need to be supplied clearly demonstrating how the unique product description can be derived as described in 3 above.  No submissions will be accepted where this evidence cannot be supplied.

The process by which a product description is verified is given in Appendix 3.

It should be noted that where a unique product description cannot be demonstrated (normally by means of photographs) an entry to the database will be denied.

2	Help and Advice on Supplying Solid Fuel Heater Efficiency Data

2.1	How do I make a submission to the Database?

A submission is made using the data entry forms provided at the back of this guidance booklet.  Detailed advice on completing the main data entry form (Appendix 1) is given in section 2.2.

As well as the basic Solid Fuel heater data you will need to provide there are a number of accompanying forms and pieces of evidence you will also need to supply.  To help clarify what this is a table is presented below listing the forms you will need in various submission scenarios.  Although this cannot be guaranteed to be exhaustive in all cases it should cover most.

Solid Fuel Heater Submission Scenarios and Forms/Evidence required

| Forms/Evidence required | Heater submission scenario |  |
| --- | --- | --- |
|  | Heater tested on fuel it burns | Badged Heater |
| Manual Data Entry Form (1) |  |  |
| Badged Heater Form (2) | N.A. |  |
| Product Identification Photographs (3) |  |  |
| Dataplate |  |  |
| Certified Efficiency Data |  |  |

Note: Numbers in brackets indicate the Appendix number where the appropriate form or further information can be found.

For each Solid Fuel heater submitted there must be the accompanying paperwork as indicated in the above matrix.  This applies equally whether or not you make the data submission electronically.  As a further aid a submission checklist is provided in Appendix 4.

It is important that all forms requiring signature be signed by the Technical Director of the submitting company.

2.1	Manual Entry

A set of manual data entry forms is included in Appendix 1 – please photocopy as many as you need for all of your product data.  One complete set of forms should be completed for each Solid Fuel heater.

Please take great care when writing in each of the boxes.  Special care is needed when recording results from any testing body.  Please note that the accreditation information must be substantiated with appropriate copies of accreditation certificates and test reports.  Failure to provide this evidence may prevent your product from receiving its full listing in the database.  Each form contains a signature box for the Technical Director or the equivalent person in your organisation to affirm the quality of the information supplied.  Please note that you are also required to send an actual dataplate for each Solid Fuel heater submitted.

The data entry form has been designed with subsequent data input in mind.  Overleaf are some explanatory notes to help you fulfil the requirements.

NB	MANDATORY ENTRIES ARE PRINTED IN BOLD

There is a requirement for consistency in naming (a) your Company (b) the brand and (c) the actual models submitted.  We will be making amendments as and when required to both categories and you should pay particular attention to that when checking your confirmation reports.

Entry 1	Manufacturer Name [up to 50 characters]

This is the name of the Solid Fuel heater manufacturer or company responsible for the Solid Fuel heater in the Ireland at the time the Solid Fuel heater was manufactured – as it appears on the product casing and/or the owners’ instruction leaflets.  Please omit punctuation marks and spaces between initials.  Once we have confirmed a manufacturer name this format will be used for all future entries appearing under that name.

Entry 2	Current Name [up to 50 characters]

This is the current name of the Manufacturer or Company responsible for this Solid Fuel heater in the Ireland.  This may be different to the original name – if not mark “as above”.

NB	If the same Solid Fuel heater model is sold under more than one Manufacturer’s name, then you should complete the Solid Fuel Heater Identity Form in Appendix 2 giving the other identities so that separate entries can be included on the database.

Entry 3	Address [up to 365 characters in total]

This format is as recommended in BS7666: Part 3 Section 2 Table 1 – hence the terminology.  If your company does not have an Irish or UK address, then please try to match the format as closely as possible.

- Secondary addressable object name [e.g. Design Division] - up to 60 characters

- Primary addressable object name [e.g. Big House] - up to 60 characters

- Designated Street name - up to 100 characters

- Locality name [if appropriate] - up to 35 characters

- Town/city name - up to 30 characters

- Administrative area name [e.g. County] - up to 30 characters

- Postcode - up to 20 characters

- Country – if not Ireland or UK - up to 30 characters

Entry 4	Telephone number 	[up to 25 characters]

Entry 5		Website address		[up to 75 characters]

This is the actual home website address for the manufacturer [in the usual .ie or .com configuration].  It will be used to provide a hotlink from each Solid Fuel heater record to the specific manufacturer’s website.

Entry 6	Brand Name [up to 50 characters]

This is the name of the product brand.  It is anticipated that this name will reflect the manufacturer name.  It is intended that this field be used for the brand instead of including it in the Model Name (e.g. model name: ACME 123 would be Brand Name: ACME; Model Name 123).

Entry 7	Model Name [up to 50 characters]

This should be the name as it appears on the Solid Fuel heater casing or leaflet of owners’ instructions.

NB	As highlighted in Entry 2’s notes, separate entries are required for each model if the same Solid Fuel heater is sold under more than one model or brand name.

Entry 8		Model qualifier [up to 30 characters]:-

This is for recording any special qualifier to the model name, which may have been used to discriminate between different versions of the same model.

Entry 9		Solid Fuel Heater ID [up to 40 characters]

This is the Solid Fuel heater identifier which, when used in conjunction with the manufacturer’s name, is unique for the model and all other characteristics affecting efficiency.  Where known, this provides an effective short cut for identification. It could be any unique identifier chosen by the manufacturer and clearly marked on the heater.  If not known or not applicable, please leave blank.

Entry 10		First year of manufacture if known [up to 4 characters]

If you do not know, give your best estimate of the year or just leave blank.

Entry 11	Final year of manufacture [up to 8 characters]

Enter “current” if the model is still in production.  If the model is no longer produced, but you do not know the final year of manufacture, then either enter your best estimate of the year or simply enter “obsolete”.

Entry 12	Fuel [1 digit]

| Fuel | Code | Notes |
| --- | --- | --- |
| House Coal | 11 |  |
| Smokeless Fuel | 12 |  |
| Anthracite Nuts | 13 |  |
| Anthracite Grains | 14 |  |
| Wood Logs | 20 |  |
| Wood Chips | 21 |  |
| Wood Pellets | 23 |  |
| Peat Turf | 25 |  |
| Peat Briquettes | 26 |  |

NB	If the same Solid Fuel heater may be used for more than one type of fuel, then a separate entry is required for each fuel type.

Entry 13	Main Type [1 digit]

| Type | Code | Notes |
| --- | --- | --- |
| Open Fire without boiler | 1 |  |
| Closed Room Heater without boiler | 2 |  |
| Pellet Room Heater without boiler | 3 |  |

Entry 14	Flue Type [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| Open | 1 | Open flued: The heater will take its combustion air from the room, and discharge outside of the room |
| Room-Sealed | 2 | Room sealed: The heater air supply and point of discharge of the flue system are outside of the room in which the heater is installed. |
| Either | 3 | Where a heater can operate with both an open or room-sealed flue and the dataplate makes no distinction. |
| Open Chimney | 4 |  |

Entry 15	Fan Assistance [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| No-fan | 1 |  |
| Fan | 2 | A fan assisted heater is a heater with a fan designed to supply air or remove products of combustion. |

Entry 16	Nominal Heat Output

[number of up to 7 characters - e.g. nnn.nnn]

This figure should be the nominal heat output of the heater in kW.  This figure should be supported by evidence contained in the type examination report issued by the laboratory.

Entry 17	Reduced Heat Output

[number of up to 7 characters - e.g. nnn.nnn]

This figure should be the reduced heat output of the heater in kW.  This figure should be supported by evidence contained in the type examination report issued by the laboratory.  If the heater has only a single output then this is the same as the nominal heat output i.e. the same as Entry 16.

(Note: If the power is only available in BTU/hr then it should be converted using the factor 1BTU/hr = 0.000293kW).

## Entry 18	DEAP gross seasonal efficiency [number up to 4 characters e.g. nn.n%]

Note:	SEAI (or their delegate) will calculate this figure and notify manufacturers of their results during the checking period.

This may be entered by the manufacturer or left blank.  If entered, it must be obtained using the methods indicated in Appendix E of DEAP 2008 Edition, Version 3.1 (rounded to the nearest 0.1%).

Entry 19	Efficiency Category [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| HARP | 1 | Not currently used. |
| HARP | 2 | Calculated from certified data |
| HARP | 3 | Estimated (entries in this category can only be supplied by SEAI) |
| HARP | 4 | Manufacturer Declaration |

Entry 20	Measured Fuel Input at Nominal Heat Output Power

[number up to 7 characters to one decimal place e.g. nnn.nnn]

Certified rate of fuel input energy, on a gross calorific value basis, when heater is operating at nominal heat output, in kW.  Independently certified evidence of this value will be required.

Entry 21	Measured Heat to Room at Nominal Heat Power

[number up to 7 characters to one decimal place e.g. nnn.nnn]

Certified rate of heat output to room when heater is operating at nominal heat output, in kW.  This must be measured in the same test as the measurement of rate of fuel input given in Entry 20.  Independently certified evidence of this value will be required.

Entry 22	Measured Fuel Input at Reduced Heat Output

[number up to 7 characters to one decimal place e.g. nnn.nnn]

Certified rate of fuel input energy, on a gross calorific value basis, when heater is operating at reduced heat output, in kW.  Independently certified evidence of this value will be required.  If the heater cannot operate in this mode or no data available then leave blank.

Entry 23	Measured Heat to Room at Reduced Heat Output

[number up to 7 characters to one decimal place e.g. nnn.nnn]

Certified rate of heat output to room when heater is operating at reduced heat output, in kW.  This must be measured in the same test as the measurement of rate of fuel input given in Entry 22.  Independently certified evidence of this value will be required.  If the heater cannot operate in this mode or no data available then leave blank.

Entry 24	Heater type for ple test [2 digits]

At present all entries to be blank.

Entry 25	Burner Control [1 digit]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Unknown | 0 |  |
| Manual | 1 | Where the heater firing rate is not controlled by thermostat or other device. |
| Electrical | 2 | Capable of being switched between full and minimum burn rate (or off) by electrical signal from a thermostat or time switch. |

Entry 26	Electrical Power (Firing) [up to 4 digits] – if measured

| Definition | Entry code | Notes |
| --- | --- | --- |
| Heater on | Input actual value (W) | This is the average electrical power consumed while the heater is firing at its highest rating, in Watts. This includes fans, motors, heaters and other electrical equipment. |

Entry 27	Electrical Power (Not Firing) [up to 4 digits]

| Definition | Entry code | Notes |
| --- | --- | --- |
| Heater off | Input actual value (W) | This is the average electrical power consumed while the heater is adjusted to fire at its highest rating (but is not firing), in Watts. This includes fans, motors, heaters and other electrical equipment. |

Entry 28	Additional Ventilation Rate [up to 4 digits]

Ventilation rate in m3/h for appliances that are not room-sealed.

Entry 29	Trade Association [up to 50 characters]

The name of the Trade Association representing the appliance type submitted.

Entry 30	Date

Date that form is submitted.

Entry 31-34	Name, Position, E-mail Address & Signature of Person completing form

Is should be noted that this form must be signed by the Technical Director or equivalent of the company making the submission.  If someone other then the Technical Director signs the forms it is a requirement that suitable documentary evidence of the authority of the signatory is provided.

## Appendix 1

## Manual Data Entry

## Form

[one to be completed for each Solid Fuel heater model submitted]

# HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

Data Entry and Declaration Form

DOMESTIC SOLID FUEL HEATERS (WITHOUT BOILERS)

(One to be completed for each Solid Fuel Heater type you wish to appear on the HARP Database – please photocopy as many forms as you require).

NB	MANDATORY ENTRIES ARE PRINTED IN BOLD

| Entry No | Entry Title |  | Entry Value |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Manufacturer Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Current Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Second addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Primary addressable object name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Designated Street name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Locality name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Town/City name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Administrative area name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Country (if not UK) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Telephone No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Manufacturer’s Website Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Brand Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Model Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Model Qualifier |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Heater ID |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## First Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Final Year of Manufacture |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fuel |  | 11 | 12 |  |  |  | 13 |  |  |  | 14 |  |  | 20 |  | 21 |  |  |  |  | 23 |  |  |  |  | 25 |  | 26 |
|  | Main Type |  | 1 |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |
|  | Flue Type |  | 1 |  |  |  |  |  |  | 2 |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  | 4 |  |  |  |
|  | Fan assistance |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Nominal Heat Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | kW |  |  |  |  |
|  | Reduced Heat Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | kW |  |  |  |  |
|  | ## DEAP Gross Seasonal Efficiency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## % |  |  |  |  |
|  | ## Efficiency Category |  |  |  | ## 1 |  |  |  |  |  |  |  | ## 2 |  |  |  |  | ## 3 |  |  |  |  |  |  |  |  | ## 4 |  |  |
|  | ## Measured Fuel Input at Nominal Heat Output (gross) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## (kW) |  |  |  |  |  |  |  |  |
|  | ## Measured Heat to Room at Nominal Heat Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## (kW) |  |  |  |  |  |  |  |  |
|  | ## Measured Fuel Input at Reduced Heat Output (gross) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## (kW) |  |  |  |  |  |  |  |  |
|  | ## Measured Heat to Room at Reduced Heat Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## (kW) |  |  |  |  |  |  |  |  |
|  | ## Heater Type for ple Tests |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Burner Control |  |  |  | ## 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## 2 |  |  |  |  |  |  |  |  |  |
|  | ## Electrical Power* (Firing) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Watts |  |  |  |  |  |  |
|  | ## Electrical Power* (Not-Firing) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ## Watts |  |  |  |  |  |  |
|  | ## Additional Ventilation Rate |  |  |  | ## (m3/h) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Trade Association |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## THIS SHADED SECTION MUST BE COMPLETED FOR ALL SUBMISSIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Product Identification (please circle)* |  |  |  |  |  | ## 1a |  |  |  |  | ## 1b |  |  | ## 1c |  |  |  |  | ## 2d |  |  |  |  | ## 2e |  |  |  | ## 2f |  |
|  | ## Date of Submission |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Name of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Submitter E-mail Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ## Position of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Signature of Submitter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Notes | * | ## Please identify how product is identified (refer to Appendix 3 for criteria) and circle those combinations that apply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

By signing this form I also declare that all the other information included in my returns are correct and that I am the Technical Director (or equivalent).

### Appendix 2

Badged Solid Fuel Heater Form

[one to be completed for each badged heater submitted & signed by Technical Director or equivalent]

[Please note that an actual dataplate for each model submitted is required]

### HOME-HEATING APPLIANCES REGISTER OF PERFORMANCE (HARP) DATABASE

### “Badged” Heater Form

(Please photocopy as many as you require)

| Declaration of Similarity for “Badged” Products |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| This form confirms that the heater (termed the “Badged model”) is the same in all material respects (excluding cover) including thermal performance as a heater (termed the “Master model”) for which a BED Certificate is available from a Notified Body |  |  |  |  |  |  |  |
| Name of “Master Brand” | Name of “Master Model” |  |  |  |  | “Master Model” Qualifier |  |
| Name of “Badged Brand” | Name of “Badged Model” |  |  |  |  | “Badged Model” Qualifier. |  |
| Bagded Model Heater Power |  | Lowest rating (kW) |  |  | Highest rating (kW) |  |  |
| Are the two heaters currently made in the same factory? (The manufacturer is required to supply literature to prove the badged heater is the same in all material respects (excluding cover) including thermal performance as the master heater listed here) |  |  |  |  |  |  | #### YES |
|  |  |  |  |  |  |  | NO |
| If NO, or if the “Master Model” is out of production please enclose details of any QA system that is in place to ensure product quality and similarity. |  |  |  |  |  |  |  |
| I hereby confirm that the “Badged Model” listed above has the same thermal performance as the “Master Model”. |  |  |  |  |  |  |  |
| Signature |  |  | Date |  |  |  |  |
| Name (Please print) |  |  | Position |  |  |  |  |

### Appendix 3

Product Identification Route

[Please note that an actual dataplate for each model submitted is required]

Route to Product Identification

As described in section 1.2 it is essential that Registered Assessors can readily identify heaters.  To this end a mechanism has been devised to assist in the confirmation that a heater can be easily identified.

Firstly the means of identifying the heater needs to be established.  It is anticipated that the following sets of circumstances may apply to most heater products:-

- What product information is shown on the heater case?  Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information

- No brand and name information

- What product information is visible (by means of a moveable or removable panel) and accessible (without the use of tools) to the householder? Is it:

- Full brand and model name and qualifier, giving unique description of this product

- Partial brand and name information which together with 1b gives unique description of this product

- No brand and name information, or insufficient to provide a unique description

“Unique” means distinct from any other product entered, or about to be entered, in the database.

In order to meet unique description requirements applications can only be accepted in the following circumstances:

1a OR 1b + 2d or 1b + 2e OR 1c + 2d

In any of the above cases photograph(s) should be provided to demonstrate that the product description can be verified by these routes.

In all other circumstances (i.e., 1b + 2f, or 1c + 2f) applications will be refused, as it will considered that in such cases the Registered Assessor will not be able to readily identify the product.

### Appendix 4

Submission Check List

| Solid Fuel Heater Data Submission Check-list |  |  |
| --- | --- | --- |
| For each heater model you submit, please check that you have included all relevant data and supporting evidence as follows:- |  |  |
| Form or method of data submission | Where you can find it |  |
| Manual Data Entry and Declaration Form | Appendix 1 |  |
| Solid Fuel Heater Identity Form - your declaration of similarity for “Badged” products | Appendix 2 |  |
| An actual example of the Solid Fuel Heater dataplate (i.e. the plate or label fixed to the appliance) | In your product’s technical file |  |
| Photographic Evidence of Solid Fuel heater identification (i.e. photos clearly showing how the product is uniquely identified by the Registered Assessor – making clear whether they are visible [on the case or via accessible control panel]) | See Appendix 3 |  |
| Extract(s) from Technical Report recording efficiency data as measured [Note: this must include independent certified evidence from a Notified Body that the efficiency data presented was measured in accordance with the methods required by the Construction Products Directive and or relevant Standards] | In your product’s technical file |  |
| Copy of CE Certificate for the model submitted | In your product’s technical file |  |
| Please Note: The working language of the database is English – submissions from International Notified Bodies should include translations into English |  |  |

### Note:  Those items that are mandatory requirements for each heater application are highlighted in bold print

### Appendix 5

List of Heating Products published on the HARP Database

List of Heating Products published on the HARP Database

- Gas & Oil Boilers

- Cooker Boilers

- Solid Fuel Boilers

- Heat Pumps

- Solar Heating Appliances

- Gas & Oil Fires and Roomheaters

- Solid Fuel Roomheaters

All of the above listed products are published on the HARP Database.

Separate Submission Guidance Notes are available for each of these product types.  These Guidance Notes may be obtained either from SEAI direct or via the website www.seai.ie/harp .

### Appendix 6

Glossary of Terms

Glossary of Terms

| Term | Definition |
| --- | --- |
| Badged Solid Fuel Heater | A Solid Fuel Heater that is sold under a different name but is identical in all technical & performance characteristics to the master model (see below) |
| BER | Building Energy Rating as required to meet Article 7 of the EBPD (this includes a BER Label and BER Advisory Report) |
| CPD | Construction Products Directive |
| DEAP | Dwellings Energy Assessment Procedure |
| EPBD | Energy Performance of Buildings Directive 2002/91/EC |
| HARP Database | The Home-heating Appliance Register of Performance Database |
| Master Solid Fuel Heater | The original Solid Fuel Heater from which badged heaters are derived. The badged heater differs in name only – all performance & technical characteristics are identical to the Master Heater |
| Registered Assessor | A DEAP software user that is registered with the National EPBD Administration System as an official BER Assessor |
| SEAI | The Sustainable Energy Authority of Ireland |
| User | Any person that uses the HARP Database, including Registered Assessors, public authority personnel, administrators or any other persons |